## About
BEIS Offshore Wind Programme
Innovation Impact on Levelised Cost of Energy Model
Revision 4
2021-03-31
| Revision | Authored | Date | Checked | Date | Approved | Date | Change
| 4 | Kate Freeman | 2021-03-31 | Mike Blanch | 2021-03-31 | Bruce Valpy | 2021-03-31 | Name revised to better reflect nature of model 18MW turbine now used
| 3 | Mike Blanch | 2015-09-23 | Kate Freeman | 2015-09-23 | Mike Blanch | 2015-09-23 | Simple Levelised Cost of Energy Model

## Contents and instructions
BEIS Offshore Wind Programme
Innovation Impact on Levelised Cost of Energy Model
Revision 4
2021-03-31
Purpose and Scope: | This innovation impact on levelised cost of energy (LCOE) model calculates the impact of innovations for offshore wind farms reaching financial investment decision (FID) in 2025. There is a choice of sites.
This model is intended to give a percentage impact on LCOE from one or more innovations. This model is not intended to be used as a predictor of absolute LCOE.
While the base technology and the way it varies between sites is plausible it is not intended to be a recommendation of the technology to use.
It assumes a 1000 MW wind farm and provides baseline data (including LCOE) on a choice of five site types: four fixed (A, B, C, D) and one floating (F). The user inputs estimated changes to specific project parameters they expect their technology to achieve for a project reaching FID in 2025 and the model derives a new LCOE, and a percentage change in LCOE.
The model uses prices quoted in 2020 terms, expressed in £, € or $.
This model has been produced for BEIS by BVG Associates and has been validated using published data and targeted industry engagement.
Disclaimer: | While every care is taken to ensure that the information is correct within this model, BEIS and BVG Associates do not accept any responsibility for the accuracy of the information and do not accept any liability for any direct, indirect or consequential loss or damage of any nature, however caused, which may be sustained as a result of reliance upon such information. Anyone relying on the information does so at their own risk.
Instructions for completion: | 1 - Insert answers to questions on the Stakeholder sheet.
2 - Use the Calculator sheet to determine the expected impact of the innovation. See the sheet for specific instructions and the Definitions sheet for an explanation of the terms used
Definitions/abbreviations:
FID | Financial investment decision
WCD | Works completion date (that is the point at which 100% of turbines are energised/operational)
WACC | Weighted average cost of capital (real, pre-tax)
LCOE | Levelised cost of energy
Key:
20 | Requires input
20 | Fixed data
20 | Value calculated or linked to elsewhere on the worksheet

## Stakeholder
BEIS Offshore Wind Programme
Innovation Impact on Levelised Cost of Energy Model
Revision 4
2021-03-31
Tasks for completion
| Task | Completed? | Guidance
| Provide responses for all Innovation Specific Questions | No | Complete the response sections on this tab
Sheet not completed
| Innovation Specific Questions | Unit | Response
| Name of stakeholder | Text
| What innovation is your company developing? | Text
| Please indicate the expected time-frame for the delivery of this innovation. What year do you believe this innovation will be present in a wind farm over 300MW (please indicate if multi-year) | Text
| Describe the expected impact of the innovation? (please indicate which element of cost or technical performance it will affect for example reduction in array cable CAPEX cost) | Text
| How have you predicted the expected innovation impact? | Text
| Optional: Are there any variations to the model you would like to suggest that you would find useful? For example, different site scenarios, different financing agreements | Text
| Expected LCOE impact | % | 0%
This is the expected impact on LCOE for the wind farm and innovation defined on the Calculator tab

## Definitions
BEIS Offshore Wind Programme
Innovation Impact on Levelised Cost of Energy Model
Revision 4
2021-03-31
Impact definitions
The Calculator sheet has space to seperately enter changes due to technology and due to supply chain.
Technology innovations are changes in product, component design and process.
Supply chain innovations are changes in the supply chain.
There can be links between technology and supply chain, for example where the introduction of a new technology has an impact on the competitive landscape. Also there is a continuum of innovations, at some point along which there is boundary between what is considered technology and what is considered supply chain. The table below gives examples of the types of innovations considered technology and supply chain.
| Item | Technology change | Supply Chain change
| Wind turbine | Modifications to designs to improve reliability | Improvements in manufacturing efficiency due to being able to increase volumes
| Jacket support structure | Substantively new manufacturing processes | Improved efficiency, from an evolved manufacturing processes
| Array cable installation | New processes or tooling to improve installation | Improving efficiency and avoiding errors
| Operation, maintenance and service | A faster and more stable work boat | A means to providing work boats at lower-cost
Cost element definitions
| Element | Description | Further notes
| Levelised cost of energy (LCOE) | The revenue required (from whatever source) to earn a rate of return on the investment equal to the discount rate (also referred to as the Weighted average cost of capital) over the life of the project. | Tax and inflation are not modelled.
CAPEX
| Project development and consenting to FID | Includes internal and external activities such as environmental and wildlife surveys, met mast (including installation) and engineering (pre FEED) and planning studies for the generations and transmission assets.
| Project development from FID to WCD | Includes further site investigations and surveys after FID, FEED studies, environmental monitoring during construction, project management work undertaken or contracted out by the developer, other administrative services.
| Construction phase insurance | Total insurance during construction phase
| Turbine (excluding tower) | Payment to wind turbine manufacturer for the supply of the nacelle and its sub-systems, the blades and hub, and the turbine electrical systems to the point of connection to the array cables. Includes assembly, wind turbine supplier aspects of installation and commissioning, profit and warranty. | For turbine, an indicative breakdown is - Rotor, 21% - Nacelle 40% - Other 39% (includes assembly, wind turbine supplier aspects of installation and commissioning, profit and warranty).
| Tower | Payment to wind turbine manufacturer for the supply of the tower.
| Support structure | Payment to suppliers for the supply of the support structure comprising the foundation (including any piles or mooring, any transition piece and secondary steel work such as J-tubes and personnel access ladders and platforms). | A semi-sub foundation type is used for floating structures. We recognise that other solutions may be just as viable.
| Array cables | Includes transportation to nearest port to supplier. Does not include installation of array cables.
| Installation | Includes installation of turbine, foundation and array cables. Includes transportation from nearest port to supplier, pre-assembly work at construction port, on-site installation work, commissioning for all but the turbine, scour protection. | For monopile, an indicative breakdown is foundation 30%, turbine 33%, array cable 25%, other 12% For jacket, an indicative breakdown is foundation 35%, turbine 31%, array cable 22%, other 12%
| Transmission supply and installation | Supply, cable laying, and construction of transmission assets from where array cables enter the offshore substation.
| Construction contingency | 5% contingency applied to all post FID CAPEX.
| Decommissioning Total | Includes all planning and work costs for removal of the turbines, balance of plant and transmission assets to meet legal obligations. Also includes any further environmental work after the removal of the structures.
OPEX
| Operation, maintenance and service (OMS) | Includes all costs associated with the day-to-day running and control of the wind farm, condition monitoring, planned maintenance and health and safety inspections. Also includes unplanned service in response to actual (or prognosed) failure in the turbine or balance of plant. Also includes site rent at 2% of revenue. | Unplanned service is about 60% of this cost. Crew transfer vessels (CTVs) are used for day-to-day maintenance and service for sites A, B, C. Service operation vessels (SOVs) are used for day-to-day maintenance and service for sites D and F.
| Operating phase insurance | Starts once first turbine is commissioned, taking the form of a new operational “all risks” policy and issues such as substation outages, design faults and collision risk become more significant as damages could result in wind farm outage.
| Transmission charges | Charges for OMS of the transmission asset and for use of grid.
Energy production
| Gross annual energy production (AEP) (MWh/MW/yr) | The gross AEP averaged over the wind farm life at output of the turbines. Excludes aerodynamic array losses, electrical array losses and other losses. Includes any site air density adjustments from the standard turbine power curve.
| Gross load factor | Also known as gross capacity factor. Ratio of gross energy production to the energy production if farm generated at rated power all the time.
| Wind farm availability | Availability acounting for the loss of energy production from unavailability of the wind farm arising from whatever source including wind turbines, structures and array cables, for both scheduled and unscheduled downtime. Value is the average over the wind farm's life accounting for any lower values in the first year, improvements in early years and degradation in later years.
| Aerodynamic array losses | Typical wake losses within a 1000MW wind farm, dependent on wind speed and turbine rating. Does not include external wake effects from neighbouring wind farms.
| Electrical array losses | Electrical array losses between the turbines and the offshore metering point for a typical 1000MW wind farm. Excludes transmission losses, as metering point is on offshore substation.
| Blockage effect | Loss assumed due to farm blockage effect for a 1000MW farm. This accounts for the effect of wind speed reduction upstream of a wind farm.
| Other losses | Life time energy loss from cut-in/cut-out hysteresis, power curve degradation, power performance loss and blade degradation. Does not include losses due to icing effects, curtailment or wind speed inter-annual variability.
| Net load factor | Also known as net capacity factor. Ratio of actual net energy production to the theoretical energy production if farm generated at rated power all the time.
Other
| WACC (Weighted average cost of capital, pre-tax, real) | Weighted average cost of capital from all sources of investment . | For bottom-fixed farms, a WACC of 5.5% is used. For floating farms a WACC of 6% is used.
| Operational life | The lifetime of the farm, as designed. | 30 year lifetime is assumed.
Assumptions
Global assumptions
Real (2020) prices
Commodity prices fixed at the average for 2020
Exchange rates fixed at the average for 2020
Year 0 for discounting is 4 years before start of operations (BEIS standard approach).
Standard wind farm assumptions
General
A 1GW wind farm, as part of a multi-gigawatt North Sea zone
Turbines are spaced at nine rotor diameters (downwind) and six rotor diameters (across-wind) in a rectangle
A wind farm design is used that is certificated for an operational life of 30 years
The lowest point of the rotor sweep is at least 22 metres above mean high water spring
The development and construction costs are funded entirely by the project developer, and
A multi-contract approach is used to contracting for construction.
Meteorological regime
A wind shear exponent of 0.12
Rayleigh wind speed distribution
A mean annual average temperature of 10°C
An air density of 1.225kg/m3
The tidal range is 4m
The Hs of 1.8m is never exceeded on more than 25% of the days at the sites furthest from shore site, and
No storm surge is considered.
Turbine
The turbine is certified to Class I to international offshore wind turbine design standard IEC 61400-3-1 or IEC 61400-3-2.
The baseline turbines have low-ratio gearboxes and mid speed, mid-voltage AC generators, with a 241m diameter rotor and a capacity of 18MW.
Support structure
Ground conditions are “typical”, that is, most relevant to North Sea zones, namely 10m dense sand on 15m stiff clay, only occasionally with locations with lower bearing pressure, the presence of boulders or significant gradients.
Array Cables
The array cable assumption is that a three core 66kV AC on fully flexible strings is used, that is, with provision to isolate an individual turbine.
Transmission
Transmission costs are incurred as CAPEX and OPEX where appropriate. This treatment of transmission costs reflects the actual costs of building and operating, rather than the costs incurred by the asset owner.
For all sites except D, the transmission is HVAC. Site D uses HVDC transmission.
Installation
Installation is carried out sequentially by the foundation, array cable, then the pre-assembled tower and turbine together.
A single jack-up is used to install monopiles and transition pieces.
Two jack-ups are used for jacket installation and pre-piling, collecting components from the installation port.
Array cables are installed via J-tubes, with separate cable lay and survey and burial.
A jack-up vessel collects components from the installation port for turbine installation.
Decommissioning reverses the assembly process to result in installation taking one year. Piles are cut off at a depth below the sea bed, which is unlikely to lead to uncovering and cables are pulled out. Environmental monitoring is conducted at the end. The residual value and cost of scrapping is ignored.
Operation, maintenance and service
Nearshore access is by service operation vessels (SOVs) or crew transfer vessels (CTVs). Jack-ups are used for major component replacement.
Transmission OPEX covers both maintenance costs and grid charges.
Floating wind-specific assumptions
Support structure
The foundation is a semi-submersible type.
Mooring configuration
The mooring uses chain in catenary formation.
Three anchors are used per floater.
Array electrical
Dynamic cable to the turbine and static cable for the connections along the seabed.
Installation
The turbine is lifted onto the floater at quayside.
The mooring and array electrical system are preinstalled at-site.
The floater-turbine system is connected to this system at site and subsequently the turbine is commissioned.
Operations, maintenance and service
Most operational activities are done using an SOV. For larger interventions, a DP vessel is used for offshore repairs. No maintenance is done by tow to shore.

## Calculator
BEIS Offshore Wind Programme
Innovation Impact on Levelised Cost of Energy Model
Revision 4
2021-03-31
Item | Task | Completed? | Guidance | [6 empty] | Task checklist
1 | Select generic site | Yes | If you have cost data with a specific site in mind, then choose the generic site which is the closest match. The model will pull up baseline data for this site. Note that the foundation type associated with this baseline data is also shown. This cannot be changed. | [6 empty] | Yes
2a | Insert percentage changes due to technology and supply chain factors - CAPEX | No change | Percentage changes should represent the innovation being modelled for a project reaching FID at the modelled date. | [6 empty] | Yes
2b | Describe innovation and assumptions - CAPEX | Yes | Column L will indicate rows where descriptions are required. | [6 empty] | Yes
3a | Insert percentage changes due to technology and supply chain factors - OPEX | No change | Percentage changes should represent the innovation being modelled for a project reaching FID at the modelled date. | [6 empty] | Yes
3b | Describe innovation and assumptions - OPEX | Yes | Column L will indicate rows where descriptions are required. | [6 empty] | No
4a | Insert percentage changes to energy production variables | No change | A negative value represents an energy decrease and a positive value an energy increase. Changes to availability and losses should be entered as percentage points. For example an increase in availability from 92% to 95% should be entered as +3%.
4b | Describe innovation and assumptions - energy production | Yes | Column L will indicate rows where descriptions are required. | [6 empty] | Some innovations applied checklist
5 | Note that the model does not allow changes to operational life or WACC | N/A | If you think there will be significant changes to the operational life or WACC please states these and why in the Column J or K.
6 | Some innovations applied on sheet? | No | Innovation changes need to be inserted to at least one of the below sections (CAPEX, OPEX or energy production). | [6 empty] | No change
|  | Sheet not complete | [7 empty] | No change
Five generic site types
| Select generic site type -> | A |  | Water depth (m) | Distance to O&M port (km) | Average wind speed at 100m above mean sea level (m/s)
|  |  | A | 25 | 40 | 9
|  |  | B | 35 | 40 | 9.4
|  |  | C | 45 | 40 | 9.7
|  |  | D | 35 | 125 | 10
|  |  | F | 100 | 40 | 9.7
|  |  |  | Conversion factors | [5 empty] | Chart labels
| Select currency -> | £ |  | £ | 1 |  |  |  |  | CAPEX for FID 2025 (2020 £/MWh)
| Conversion factor to use | 1 |  | € | 1.14 |  |  |  |  | OPEX for FID 2025 (2020 £/MW/year)
|  |  |  | $ | 1.34
| Foundation type | Monopile
| LCOE for FID 2025 (2020 £/MWh) - base | 38.8703 |  | LCOE for FID 2025 (2020 £/MWh) - innovation |  | 38.8703 |  | Change in LCOE (%) | 0%
| 18MW turbines, site type A - base case |  |  | 18MW turbines, site type A - with innovation |  |  |  | Description of assumptions/preconditions that gives rise to any change:
| CAPEX | £000s/MW |  | % change due to technology | % change due to supply chain | £000s/MW | Impact of change in element on LCOE | Technology | Supply chain | Needs technology description | Needs supply chain description
| Project development and consenting to FID | 41.7 |  | 0% | 0% | 41.7 | 0% |  |  | 0 | 0
| Project development from FID to WCD | 41.7 |  | 0% | 0% | 41.7 | 0% |  |  | 0 | 0
| Turbine (excluding tower) | 811.4 |  | 0% | 0% | 811.4 | 0% |  |  | 0 | 0
| Tower | 70.8 |  | 0% | 0% | 70.8 | 0% |  |  | 0 | 0
| Support structure | 178.2 |  | 0% | 0% | 178.2 | 0% |  |  | 0 | 0
| Array cables | 22.7 |  | 0% | 0% | 22.7 | 0% |  |  | 0 | 0
| Installation | 131.1 |  | 0% | 0% | 131.1 | 0% |  |  | 0 | 0
| Transmission supply and installation | 332.3 |  | 0% | 0% | 332.3 | 0% |  |  | 0 | 0
| Construction phase insurance | 37.8 |  | 0% | 0% | 37.8 | 0% |  |  | 0 | 0
| Construction contingency | 79.41 |  | 0% | 0% | 79.41 | 0% |  |  | 0 | 0
| Total CAPEX | 1747.11 |  |  |  | 1747.11 | 0.9035% | Change in CAPEX (%) | 0%
| OPEX | £000s/MW |  |  |  | £000s/MW
| Operation, maintenance and service (OMS) | 11.3 |  | 0% | 0% | 11.3 | 0% |  |  | 0 | 0
| Operating phase insurance | 3.5 |  | 0% | 0% | 3.5 | 0% |  |  | 0 | 0
| Transmission charges | 12.3 |  | 0% | 0% | 12.3 | 0% |  |  | 0 | 0
| Total OPEX | 27.1 |  |  |  | 27.1 | 0% | Change in OPEX (%) | 0%
Energy production
| Gross energy production (MWh/MW/yr) | 4681 |  | 0% | 0% | 4681 | 0% |  |  | 0 | 0
| Gross load factor | 53.4% |  |  |  | 53.4% | -
| Wind farm availability | 95.6% |  | 0% | 0% | 95.6% | 0% |  |  | 0 | 0
| Aerodynamic array losses | 6.7% |  | 0% | 0% | 6.7% | 0% |  |  | 0 | 0
| Electrical array losses | 1% |  | 0% | 0% | 1% | 0% |  |  | 0 | 0
| Blockage effect | 1% |  | 0% | 0% | 1% | 0% |  |  | 0 | 0
| Other losses | 1.9% |  | 0% | 0% | 1.9% | 0% |  |  | 0 | 0
| Net energy production (MWh/MW/yr) | 4014.3716 |  |  |  | 4014.3716 | 0% | Change in AEP (%) | 0%
| Net load factor | 45.83% |  |  |  | 45.83%
| Decommissioning (£000s/MW) | £000s/MW
| Total decommissioning | 156.5 |  | 0% | 0% | 156.5 | 0% |  |  | 0 | 0
| Operational life (years) | 30 |  |  |  | 30
| Wind farm unit size (MW) | 1000 |  |  |  | 1000
| WACC (weighted average cost of capital, pre-tax, real) | 5.5% |  |  |  | 5.5%
| LCOE for FID 2025 (2020 £/MWh) - base | 38.8703 |  | LCOE for FID 2025 (2020 £/MWh) - innovation |  | 38.8703 |  | Change in LCOE (%) | 0%
Note on E60: Note: Change is to be input as percentage points and not percentage.
Note on F60: Note: Change is to be input as percentage points and not percentage.
Note on E61: Note: Change is to be input as percentage points and not percentage.
Note on F61: Note: Change is to be input as percentage points and not percentage.
Note on E62: Note: Change is to be input as percentage points and not percentage.
Note on F62: Note: Change is to be input as percentage points and not percentage.
Note on E63: Note: Change is to be input as percentage points and not percentage.
Note on F63: Note: Change is to be input as percentage points and not percentage.
Note on E64: Note: Change is to be input as percentage points and not percentage.
Note on F64: Note: Change is to be input as percentage points and not percentage.

## LCOE Base (hidden)
| Total | per MW | Phasing (Years) | -4 | -3 | -2 | -1 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
Operational phase |  |  |  | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0
Decommissioning phase | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
CAPEX |  |  |  | -4: 2.387%; -3: 5.368%; -2: 20.43%; -1: 34.89%; 0: 35.04%; 1: 1.878%
Project development and consenting up to FID |  | 41700 |  | -4: 100%; -3: 0%; -2: 0%; -1: 0%; 0: 0%; 1: 0%
Project management and contingencies from FID to WCD |  | 41700 |  | -4: 0%; -3: 19.19%; -2: 24.09%; -1: 26.83%; 0: 27.39%; 1: 2.5%
Construction phase insurance |  | 37800 |  | -4: 0%; -3: 25%; -2: 25%; -1: 25%; 0: 25%; 1: 0%
Turbine |  | 811400 |  | -4: 0%; -3: 0.3156%; -2: 17.44%; -1: 38.4%; 0: 41.34%; 1: 2.5%
Tower |  | 70800 |  | -4: 0%; -3: 0.3156%; -2: 17.44%; -1: 38.4%; 0: 41.34%; 1: 2.5%
Support structure |  | 178200 |  | -4: 0%; -3: 0%; -2: 6.646%; -1: 39.75%; 0: 51.1%; 1: 2.5%
Array cables |  | 22700 |  | -4: 0%; -3: 1.937%; -2: 95.56%; -1: 2.5%; 0: 0%; 1: 0%
Installation |  | 131100 |  | -4: 0%; -3: 0%; -2: 0.2577%; -1: 32.84%; 0: 64.4%; 1: 2.5%
Transmission build |  | 332300 |  | -4: 0%; -3: 22%; -2: 45%; -1: 33%; 0: 0%; 1: 0%
Contingency |  | 79410 |  | -4: 0%; -3: 0%; -2: 0.2577%; -1: 32.84%; 0: 64.4%; 1: 2.5%
Total CAPEX (£, €, $) | 1747110000 | 1747110 |  | 41700000 | 93782025.4364 | 356991359.4233 | 609623947.1454 | 612197417.9949 | 32815250 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
OPEX
Operations and maintenance |  | 11300 |  | 0% | 0% | 0% | 0% | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0%
Operating phase insurance |  | 3500 |  | 0% | 0% | 0% | 0% | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0%
Transmission charges |  | 12300 |  | 0% | 0% | 0% | 0% | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0%
Total OPEX (£, €, $/MW/annum) | 27100000 | 27100 |  | 0 | 0 | 0 | 0 | 0 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 0
Decommissioning
Phasing |  |  |  | 20: 0%; 21: 0%; 22: 0%; 23: 0%; 24: 0%; 25: 0%; 26: 0%; 27: 0%; 28: 0%; 29: 0%; 30: 0%; 31: 100%
Total Decommissioning cost (£, €, $) | 156500000 | 156500 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 156500000
Energy Production
Net energy production per MW (MWh) |  | 4014.3716 |  | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716
% energised |  |  |  | 0% | 0% | 0% | 0% | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0%
NET Annual Energy Production - MWh | 84301804.0262 |  |  | 0 | 0 | 0 | 0 | 0 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 0
Note formula below assumes middle of year
Discount Rate (average over project lifetime) | 5.5% |  | Discount factor | 1 | 0.97358 | 0.92283 | 0.87472 | 0.82912 | 0.78589 | 0.74492 | 0.70609 | 0.66928 | 0.63439 | 0.60131 | 0.56997 | 0.54025 | 0.51209 | 0.48539 | 0.46009 | 0.4361 | 0.41337 | 0.39182 | 0.37139 | 0.35203 | 0.33368 | 0.31628 | 0.29979 | 0.28416 | 0.26935 | 0.25531 | 0.242 | 0.22938 | 0.21742 | 0.20609 | 0.19534 | 0.18516 | 0.17551 | 0.16636 | 0.15768
Discounted Cashflow | bar: -4 to -2; 0
Total CAPEX | 1529070055.4258 |  |  | 41700000 | 91304751.3854 | 329442037.4343 | 533250006.5613 | 507583954.4236 | 25789305.6212 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total OPEX | 326560177.4279 |  |  | 0 | 0 | 0 | 0 | 0 | 21297725.3665 | 20187417.409 | 19134992.8048 | 18137433.9382 | 17191880.5101 | 16295621.3366 | 15446086.575 | 14640840.3554 | 13877573.7966 | 13154098.3854 | 12468339.7018 | 11818331.4709 | 11202209.925 | 10618208.4598 | 10064652.5685 | 9539955.0412 | 9042611.4135 | 8571195.6526 | 8124356.0688 | 7700811.4396 | 7299347.3361 | 6918812.6409 | 6558116.2473 | 6216223.9311 | 5892155.3849 | 5584981.4075 | 5293821.2393 | 5017840.0373 | 4756246.4808 | 4508290.5032 | 0
Total Decommissioning cost | 24677688.8738 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24677688.8738
Total discounted cashflow | 1880307921.7274 |  |  | 41700000 | 91304751.3854 | 329442037.4343 | 533250006.5613 | 507583954.4236 | 47087030.9877 | 20187417.409 | 19134992.8048 | 18137433.9382 | 17191880.5101 | 16295621.3366 | 15446086.575 | 14640840.3554 | 13877573.7966 | 13154098.3854 | 12468339.7018 | 11818331.4709 | 11202209.925 | 10618208.4598 | 10064652.5685 | 9539955.0412 | 9042611.4135 | 8571195.6526 | 8124356.0688 | 7700811.4396 | 7299347.3361 | 6918812.6409 | 6558116.2473 | 6216223.9311 | 5892155.3849 | 5584981.4075 | 5293821.2393 | 5017840.0373 | 4756246.4808 | 4508290.5032 | 24677688.8738
Discounted net generation | 48373944.9662 |  |  | 0 | 0 | 0 | 0 | 0 | 3154870.2689 | 2990398.3592 | 2834500.8144 | 2686730.6298 | 2546664.104 | 2413899.6247 | 2288056.5163 | 2168773.9491 | 2055709.9043 | 1948540.1937 | 1846957.5296 | 1750670.6441 | 1659403.4542 | 1572894.2693 | 1490895.042 | 1413170.656 | 1339498.2521 | 1269666.5897 | 1203475.4404 | 1140735.0146 | 1081265.4167 | 1024896.1296 | 971465.5257 | 920820.4035 | 872815.5483 | 827313.3159 | 784183.2379 | 743301.6473 | 704551.3244 | 667821.1606 | 0
Levelised Cost of Energy | 38.8703 | £, €, $/MWh

## LCOE Innovation (hidden)
| Total | per MW | Phasing (Years) | -4 | -3 | -2 | -1 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
Operational phase |  |  |  |  | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0
Decommissioning phase | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
CAPEX
Project development and consenting up to FID |  | 41700 |  | -4: 100%; -3: 0%; -2: 0%; -1: 0%; 0: 0%; 1: 0%
Project management and contingencies from FID to WCD |  | 41700 |  | -4: 0%; -3: 19.19%; -2: 24.09%; -1: 26.83%; 0: 27.39%; 1: 2.5%
Construction phase insurance |  | 37800 |  | -4: 0%; -3: 25%; -2: 25%; -1: 25%; 0: 25%; 1: 0%
Turbine |  | 811400 |  | -4: 0%; -3: 0.3156%; -2: 17.44%; -1: 38.4%; 0: 41.34%; 1: 2.5%
Tower |  | 70800 |  | -4: 0%; -3: 0.3156%; -2: 17.44%; -1: 38.4%; 0: 41.34%; 1: 2.5%
Support structure (inc. tower) |  | 178200 |  | -4: 0%; -3: 0%; -2: 6.646%; -1: 39.75%; 0: 51.1%; 1: 2.5%
Array cables |  | 22700 |  | -4: 0%; -3: 1.937%; -2: 95.56%; -1: 2.5%; 0: 0%; 1: 0%
Installation |  | 131100 |  | -4: 0%; -3: 0%; -2: 0.2577%; -1: 32.84%; 0: 64.4%; 1: 2.5%
Transmission build |  | 332300 |  | -4: 0%; -3: 22%; -2: 45%; -1: 33%; 0: 0%; 1: 0%
Contingency |  | 79410 |  | -4: 0%; -3: 0%; -2: 0.2577%; -1: 32.84%; 0: 64.4%; 1: 2.5%
Total CAPEX (£, €, $) | 1747110000 | 1747110 |  | 41700000 | 93782025.4364 | 356991359.4233 | 609623947.1454 | 612197417.9949 | 32815250 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
OPEX
Operations and maintenance |  | 11300 |  | 0% | 0% | 0% | 0% | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0%
Operating phase insurance |  | 3500 |  | 0% | 0% | 0% | 0% | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0%
Transmission charges |  | 12300 |  | 0% | 0% | 0% | 0% | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0%
Total OPEX (£, €, $/MW/annum) | 27100000 | 27100 |  | 0 | 0 | 0 | 0 | 0 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 0
Decommissioning
Phasing |  |  |  | 20: 0%; 21: 0%; 22: 0%; 23: 0%; 24: 0%; 25: 0%; 26: 0%; 27: 0%; 28: 0%; 29: 0%; 30: 0%; 31: 100%
Total Decommissioning cost (£, €, $) | 156500000 | 156500 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 156500000
Energy Production
Net energy production per MW (MWh) |  | 4014.3716 |  | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716
% energised |  |  |  | 0% | 0% | 0% | 0% | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0%
NET Annual Energy Production - MWh | 84301804.0262 |  |  | 0 | 0 | 0 | 0 | 0 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 0
Discount Rate (average over project lifetime) | 5.5% |  | Discount factor | 1 | 0.97358 | 0.92283 | 0.87472 | 0.82912 | 0.78589 | 0.74492 | 0.70609 | 0.66928 | 0.63439 | 0.60131 | 0.56997 | 0.54025 | 0.51209 | 0.48539 | 0.46009 | 0.4361 | 0.41337 | 0.39182 | 0.37139 | 0.35203 | 0.33368 | 0.31628 | 0.29979 | 0.28416 | 0.26935 | 0.25531 | 0.242 | 0.22938 | 0.21742 | 0.20609 | 0.19534 | 0.18516 | 0.17551 | 0.16636 | 0.15768
Discounted Cashflow | bar: -4 to -2; 0
Total CAPEX | 1529070055.4258 |  |  | 41700000 | 91304751.3854 | 329442037.4343 | 533250006.5613 | 507583954.4236 | 25789305.6212 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total OPEX | 326560177.4279 |  |  | 0 | 0 | 0 | 0 | 0 | 21297725.3665 | 20187417.409 | 19134992.8048 | 18137433.9382 | 17191880.5101 | 16295621.3366 | 15446086.575 | 14640840.3554 | 13877573.7966 | 13154098.3854 | 12468339.7018 | 11818331.4709 | 11202209.925 | 10618208.4598 | 10064652.5685 | 9539955.0412 | 9042611.4135 | 8571195.6526 | 8124356.0688 | 7700811.4396 | 7299347.3361 | 6918812.6409 | 6558116.2473 | 6216223.9311 | 5892155.3849 | 5584981.4075 | 5293821.2393 | 5017840.0373 | 4756246.4808 | 4508290.5032 | 0
Total Decommissioning cost | 24677688.8738 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24677688.8738
Total discounted cashflow | 1880307921.7274 |  |  | 41700000 | 91304751.3854 | 329442037.4343 | 533250006.5613 | 507583954.4236 | 47087030.9877 | 20187417.409 | 19134992.8048 | 18137433.9382 | 17191880.5101 | 16295621.3366 | 15446086.575 | 14640840.3554 | 13877573.7966 | 13154098.3854 | 12468339.7018 | 11818331.4709 | 11202209.925 | 10618208.4598 | 10064652.5685 | 9539955.0412 | 9042611.4135 | 8571195.6526 | 8124356.0688 | 7700811.4396 | 7299347.3361 | 6918812.6409 | 6558116.2473 | 6216223.9311 | 5892155.3849 | 5584981.4075 | 5293821.2393 | 5017840.0373 | 4756246.4808 | 4508290.5032 | 24677688.8738
Discounted net generation | 48373944.9662 |  |  | 0 | 0 | 0 | 0 | 0 | 3154870.2689 | 2990398.3592 | 2834500.8144 | 2686730.6298 | 2546664.104 | 2413899.6247 | 2288056.5163 | 2168773.9491 | 2055709.9043 | 1948540.1937 | 1846957.5296 | 1750670.6441 | 1659403.4542 | 1572894.2693 | 1490895.042 | 1413170.656 | 1339498.2521 | 1269666.5897 | 1203475.4404 | 1140735.0146 | 1081265.4167 | 1024896.1296 | 971465.5257 | 920820.4035 | 872815.5483 | 827313.3159 | 784183.2379 | 743301.6473 | 704551.3244 | 667821.1606 | 0
Levelised Cost of Energy | 38.8703 | £, €, $/MWh

## Contributions to LCOE (hidden)
| Total | per MW | Phasing (Years) | -4 | -3 | -2 | -1 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
Operational phase |  |  |  | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0
Decommissioning phase | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
CAPEX |  |  |  | 2.387% | 5.368% | 20.43% | 34.89% | 35.04% | 1.878% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Project development and consenting up to FID |  | 41700 |  | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Project management and contingencies from FID to WCD |  | 41700 |  | 0% | 19.19% | 24.09% | 26.83% | 27.39% | 2.5% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Construction phase insurance |  | 37800 |  | 0% | 25% | 25% | 25% | 25% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Turbine |  | 811400 |  | 0% | 0.3156% | 17.44% | 38.4% | 41.34% | 2.5% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Tower |  | 70800 |  | 0% | 0.3156% | 17.44% | 38.4% | 41.34% | 2.5% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Support structure |  | 178200 |  | 0% | 0% | 6.646% | 39.75% | 51.1% | 2.5% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Array cables |  | 22700 |  | 0% | 1.937% | 95.56% | 2.5% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Installation |  | 131100 |  | 0% | 0% | 0.2577% | 32.84% | 64.4% | 2.5% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Transmission build |  | 332300 |  | 0% | 22% | 45% | 33% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Contingency |  | 79410 |  | 0% | 0% | 0.2577% | 32.84% | 64.4% | 2.5% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Total CAPEX (£, €, $) | 1747110000 | 1747110 |  | 41700000 | 93782025.4364 | 356991359.4233 | 609623947.1454 | 612197417.9949 | 32815250 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
OPEX
Operations and maintenance |  | 11300 |  | 0% | 0% | 0% | 0% | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0%
Operating phase insurance |  | 3500 |  | 0% | 0% | 0% | 0% | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0%
Transmission charges |  | 12300 |  | 0% | 0% | 0% | 0% | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0%
Total OPEX (£, €, $/MW/annum) | 27100000 | 27100 |  | 0 | 0 | 0 | 0 | 0 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 27100000 | 0
Decommissioning
Phasing |  |  |  | 20: 0%; 21: 0%; 22: 0%; 23: 0%; 24: 0%; 25: 0%; 26: 0%; 27: 0%; 28: 0%; 29: 0%; 30: 0%; 31: 100%
Total Decommissioning cost (£, €, $) | 156500000 | 156500 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 156500000
Energy Production
Net energy production per MW (MWh) |  | 4014.3716 |  | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716 | 4014.3716
% energised |  |  |  | 0% | 0% | 0% | 0% | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 0%
NET Annual Energy Production - MWh | 84301804.0262 |  |  | 0 | 0 | 0 | 0 | 0 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 4014371.6203 | 0
Discount Rate (average over project lifetime) | 5.5% |  | Discount factor | 1 | 0.97358 | 0.92283 | 0.87472 | 0.82912 | 0.78589 | 0.74492 | 0.70609 | 0.66928 | 0.63439 | 0.60131 | 0.56997 | 0.54025 | 0.51209 | 0.48539 | 0.46009 | 0.4361 | 0.41337 | 0.39182 | 0.37139 | 0.35203 | 0.33368 | 0.31628 | 0.29979 | 0.28416 | 0.26935 | 0.25531 | 0.242 | 0.22938 | 0.21742 | 0.20609 | 0.19534 | 0.18516 | 0.17551 | 0.16636 | 0.15768
| 0.055 |  |  | -3: 0.97358; -2: 0.92283; -1: 0.87472; 0: 0.82912
Discounted Cashflow | bar: -4 to -2; 0
Total CAPEX | 1529070055.4258 |  |  | 41700000 | 91304751.3854 | 329442037.4343 | 533250006.5613 | 507583954.4236 | 25789305.6212 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total OPEX | 326560177.4279 |  |  | 0 | 0 | 0 | 0 | 0 | 21297725.3665 | 20187417.409 | 19134992.8048 | 18137433.9382 | 17191880.5101 | 16295621.3366 | 15446086.575 | 14640840.3554 | 13877573.7966 | 13154098.3854 | 12468339.7018 | 11818331.4709 | 11202209.925 | 10618208.4598 | 10064652.5685 | 9539955.0412 | 9042611.4135 | 8571195.6526 | 8124356.0688 | 7700811.4396 | 7299347.3361 | 6918812.6409 | 6558116.2473 | 6216223.9311 | 5892155.3849 | 5584981.4075 | 5293821.2393 | 5017840.0373 | 4756246.4808 | 4508290.5032 | 0
Total Decommissioning cost | 24677688.8738 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24677688.8738
Total discounted cashflow | 1880307921.7274 |  |  | 41700000 | 91304751.3854 | 329442037.4343 | 533250006.5613 | 507583954.4236 | 47087030.9877 | 20187417.409 | 19134992.8048 | 18137433.9382 | 17191880.5101 | 16295621.3366 | 15446086.575 | 14640840.3554 | 13877573.7966 | 13154098.3854 | 12468339.7018 | 11818331.4709 | 11202209.925 | 10618208.4598 | 10064652.5685 | 9539955.0412 | 9042611.4135 | 8571195.6526 | 8124356.0688 | 7700811.4396 | 7299347.3361 | 6918812.6409 | 6558116.2473 | 6216223.9311 | 5892155.3849 | 5584981.4075 | 5293821.2393 | 5017840.0373 | 4756246.4808 | 4508290.5032 | 24677688.8738
Discounted net generation | 48373944.9662 |  |  | 0 | 0 | 0 | 0 | 0 | 3154870.2689 | 2990398.3592 | 2834500.8144 | 2686730.6298 | 2546664.104 | 2413899.6247 | 2288056.5163 | 2168773.9491 | 2055709.9043 | 1948540.1937 | 1846957.5296 | 1750670.6441 | 1659403.4542 | 1572894.2693 | 1490895.042 | 1413170.656 | 1339498.2521 | 1269666.5897 | 1203475.4404 | 1140735.0146 | 1081265.4167 | 1024896.1296 | 971465.5257 | 920820.4035 | 872815.5483 | 827313.3159 | 784183.2379 | 743301.6473 | 704551.3244 | 667821.1606 | 0
Levelised Cost of Energy | 38.8703 | £, €, $/MWh
7299347.3361
0
0
|  |  |  | 41700000 | 91304751.3854 | 329442037.4343 | 533250006.5613 | 507583954.4236 | 47087030.9877 | 20187417.409 | 19134992.8048 | 18137433.9382 | 17191880.5101 | 16295621.3366 | 15446086.575 | 14640840.3554 | 13877573.7966 | 13154098.3854 | 12468339.7018 | 11818331.4709 | 11202209.925 | 10618208.4598 | 10064652.5685 | 9539955.0412 | 9042611.4135 | 8571195.6526 | 8124356.0688 | 7700811.4396 | 7299347.3361 | 6918812.6409 | 6558116.2473 | 6216223.9311 | 5892155.3849 | 5584981.4075 | 5293821.2393 | 5017840.0373 | 4756246.4808 | 4508290.5032 | 24677688.8738
CAPEX | New LCOE | Contribution to LCOE change
Project development and consenting to FID | 38.8703 | 0% | Project development and consenting up to FID | 41700000 | 91304751.3854 | 329442037.4343 | 533250006.5613 | 507583954.4236 | 47087030.9877 | 20187417.409 | 19134992.8048 | 18137433.9382 | 17191880.5101 | 16295621.3366 | 15446086.575 | 14640840.3554 | 13877573.7966 | 13154098.3854 | 12468339.7018 | 11818331.4709 | 11202209.925 | 10618208.4598 | 10064652.5685 | 9539955.0412 | 9042611.4135 | 8571195.6526 | 8124356.0688 | 7700811.4396 | 7299347.3361 | 6918812.6409 | 6558116.2473 | 6216223.9311 | 5892155.3849 | 5584981.4075 | 5293821.2393 | 5017840.0373 | 4756246.4808 | 4508290.5032 | 24677688.8738
Project development from FID to WCD | 38.8703 | 0% | Project management and contingencies from FID to WCD | 41700000 | 91304751.3854 | 329442037.4343 | 533250006.5613 | 507583954.4236 | 47087030.9877 | 20187417.409 | 19134992.8048 | 18137433.9382 | 17191880.5101 | 16295621.3366 | 15446086.575 | 14640840.3554 | 13877573.7966 | 13154098.3854 | 12468339.7018 | 11818331.4709 | 11202209.925 | 10618208.4598 | 10064652.5685 | 9539955.0412 | 9042611.4135 | 8571195.6526 | 8124356.0688 | 7700811.4396 | 7299347.3361 | 6918812.6409 | 6558116.2473 | 6216223.9311 | 5892155.3849 | 5584981.4075 | 5293821.2393 | 5017840.0373 | 4756246.4808 | 4508290.5032 | 24677688.8738
Construction phase insurance | 38.8703 | 0% | Construction phase insurance | 41700000 | 91304751.3854 | 329442037.4343 | 533250006.5613 | 507583954.4236 | 47087030.9877 | 20187417.409 | 19134992.8048 | 18137433.9382 | 17191880.5101 | 16295621.3366 | 15446086.575 | 14640840.3554 | 13877573.7966 | 13154098.3854 | 12468339.7018 | 11818331.4709 | 11202209.925 | 10618208.4598 | 10064652.5685 | 9539955.0412 | 9042611.4135 | 8571195.6526 | 8124356.0688 | 7700811.4396 | 7299347.3361 | 6918812.6409 | 6558116.2473 | 6216223.9311 | 5892155.3849 | 5584981.4075 | 5293821.2393 | 5017840.0373 | 4756246.4808 | 4508290.5032 | 24677688.8738
Turbine (excluding tower) | 38.8703 | 0% | Turbine | 41700000 | 91304751.3854 | 329442037.4343 | 533250006.5613 | 507583954.4236 | 47087030.9877 | 20187417.409 | 19134992.8048 | 18137433.9382 | 17191880.5101 | 16295621.3366 | 15446086.575 | 14640840.3554 | 13877573.7966 | 13154098.3854 | 12468339.7018 | 11818331.4709 | 11202209.925 | 10618208.4598 | 10064652.5685 | 9539955.0412 | 9042611.4135 | 8571195.6526 | 8124356.0688 | 7700811.4396 | 7299347.3361 | 6918812.6409 | 6558116.2473 | 6216223.9311 | 5892155.3849 | 5584981.4075 | 5293821.2393 | 5017840.0373 | 4756246.4808 | 4508290.5032 | 24677688.8738
Tower | 38.8703 | 0% | Tower | 41700000 | 91304751.3854 | 329442037.4343 | 533250006.5613 | 507583954.4236 | 47087030.9877 | 20187417.409 | 19134992.8048 | 18137433.9382 | 17191880.5101 | 16295621.3366 | 15446086.575 | 14640840.3554 | 13877573.7966 | 13154098.3854 | 12468339.7018 | 11818331.4709 | 11202209.925 | 10618208.4598 | 10064652.5685 | 9539955.0412 | 9042611.4135 | 8571195.6526 | 8124356.0688 | 7700811.4396 | 7299347.3361 | 6918812.6409 | 6558116.2473 | 6216223.9311 | 5892155.3849 | 5584981.4075 | 5293821.2393 | 5017840.0373 | 4756246.4808 | 4508290.5032 | 24677688.8738
Support structure | 38.8703 | 0% | Support structure | 41700000 | 91304751.3854 | 329442037.4343 | 533250006.5613 | 507583954.4236 | 47087030.9877 | 20187417.409 | 19134992.8048 | 18137433.9382 | 17191880.5101 | 16295621.3366 | 15446086.575 | 14640840.3554 | 13877573.7966 | 13154098.3854 | 12468339.7018 | 11818331.4709 | 11202209.925 | 10618208.4598 | 10064652.5685 | 9539955.0412 | 9042611.4135 | 8571195.6526 | 8124356.0688 | 7700811.4396 | 7299347.3361 | 6918812.6409 | 6558116.2473 | 6216223.9311 | 5892155.3849 | 5584981.4075 | 5293821.2393 | 5017840.0373 | 4756246.4808 | 4508290.5032 | 24677688.8738
Array cables | 38.8703 | 0% | Array cables | 41700000 | 91304751.3854 | 329442037.4343 | 533250006.5613 | 507583954.4236 | 47087030.9877 | 20187417.409 | 19134992.8048 | 18137433.9382 | 17191880.5101 | 16295621.3366 | 15446086.575 | 14640840.3554 | 13877573.7966 | 13154098.3854 | 12468339.7018 | 11818331.4709 | 11202209.925 | 10618208.4598 | 10064652.5685 | 9539955.0412 | 9042611.4135 | 8571195.6526 | 8124356.0688 | 7700811.4396 | 7299347.3361 | 6918812.6409 | 6558116.2473 | 6216223.9311 | 5892155.3849 | 5584981.4075 | 5293821.2393 | 5017840.0373 | 4756246.4808 | 4508290.5032 | 24677688.8738
Installation | 38.8703 | 0% | Installation | 41700000 | 91304751.3854 | 329442037.4343 | 533250006.5613 | 507583954.4236 | 47087030.9877 | 20187417.409 | 19134992.8048 | 18137433.9382 | 17191880.5101 | 16295621.3366 | 15446086.575 | 14640840.3554 | 13877573.7966 | 13154098.3854 | 12468339.7018 | 11818331.4709 | 11202209.925 | 10618208.4598 | 10064652.5685 | 9539955.0412 | 9042611.4135 | 8571195.6526 | 8124356.0688 | 7700811.4396 | 7299347.3361 | 6918812.6409 | 6558116.2473 | 6216223.9311 | 5892155.3849 | 5584981.4075 | 5293821.2393 | 5017840.0373 | 4756246.4808 | 4508290.5032 | 24677688.8738
Transmission supply and installation | 38.8703 | 0% | Transmission build | 41700000 | 91304751.3854 | 329442037.4343 | 533250006.5613 | 507583954.4236 | 47087030.9877 | 20187417.409 | 19134992.8048 | 18137433.9382 | 17191880.5101 | 16295621.3366 | 15446086.575 | 14640840.3554 | 13877573.7966 | 13154098.3854 | 12468339.7018 | 11818331.4709 | 11202209.925 | 10618208.4598 | 10064652.5685 | 9539955.0412 | 9042611.4135 | 8571195.6526 | 8124356.0688 | 7700811.4396 | 7299347.3361 | 6918812.6409 | 6558116.2473 | 6216223.9311 | 5892155.3849 | 5584981.4075 | 5293821.2393 | 5017840.0373 | 4756246.4808 | 4508290.5032 | 24677688.8738
Construction contingency | 38.8703 | 0% | Contingency | 41700000 | 91304751.3854 | 329442037.4343 | 533250006.5613 | 507583954.4236 | 47087030.9877 | 20187417.409 | 19134992.8048 | 18137433.9382 | 17191880.5101 | 16295621.3366 | 15446086.575 | 14640840.3554 | 13877573.7966 | 13154098.3854 | 12468339.7018 | 11818331.4709 | 11202209.925 | 10618208.4598 | 10064652.5685 | 9539955.0412 | 9042611.4135 | 8571195.6526 | 8124356.0688 | 7700811.4396 | 7299347.3361 | 6918812.6409 | 6558116.2473 | 6216223.9311 | 5892155.3849 | 5584981.4075 | 5293821.2393 | 5017840.0373 | 4756246.4808 | 4508290.5032 | 24677688.8738
Total CAPEX | 39.2214 | 0.9035% |  | 41700000 | 216615748.9844 | 370232276.9827 | 410802243.4785 | 492461209.7055 | 35544213.9648 | 20187417.409 | 19134992.8048 | 18137433.9382 | 17191880.5101 | 16295621.3366 | 15446086.575 | 14640840.3554 | 13877573.7966 | 13154098.3854 | 12468339.7018 | 11818331.4709 | 11202209.925 | 10618208.4598 | 10064652.5685 | 9539955.0412 | 9042611.4135 | 8571195.6526 | 8124356.0688 | 7700811.4396 | 7299347.3361 | 6918812.6409 | 6558116.2473 | 6216223.9311 | 5892155.3849 | 5584981.4075 | 5293821.2393 | 5017840.0373 | 4756246.4808 | 4508290.5032 | 24677688.8738
OPEX
Operation, maintenance and service (OMS) | 38.8703 | 0% |  | 41700000 | 91304751.3854 | 329442037.4343 | 533250006.5613 | 507583954.4236 | 47087030.9877 | 20187417.409 | 19134992.8048 | 18137433.9382 | 17191880.5101 | 16295621.3366 | 15446086.575 | 14640840.3554 | 13877573.7966 | 13154098.3854 | 12468339.7018 | 11818331.4709 | 11202209.925 | 10618208.4598 | 10064652.5685 | 9539955.0412 | 9042611.4135 | 8571195.6526 | 8124356.0688 | 7700811.4396 | 7299347.3361 | 6918812.6409 | 6558116.2473 | 6216223.9311 | 5892155.3849 | 5584981.4075 | 5293821.2393 | 5017840.0373 | 4756246.4808 | 4508290.5032 | 24677688.8738
Operating phase insurance | 38.8703 | 0% |  | 41700000 | 91304751.3854 | 329442037.4343 | 533250006.5613 | 507583954.4236 | 47087030.9877 | 20187417.409 | 19134992.8048 | 18137433.9382 | 17191880.5101 | 16295621.3366 | 15446086.575 | 14640840.3554 | 13877573.7966 | 13154098.3854 | 12468339.7018 | 11818331.4709 | 11202209.925 | 10618208.4598 | 10064652.5685 | 9539955.0412 | 9042611.4135 | 8571195.6526 | 8124356.0688 | 7700811.4396 | 7299347.3361 | 6918812.6409 | 6558116.2473 | 6216223.9311 | 5892155.3849 | 5584981.4075 | 5293821.2393 | 5017840.0373 | 4756246.4808 | 4508290.5032 | 24677688.8738
Transmission charges | 38.8703 | 0% |  | 41700000 | 91304751.3854 | 329442037.4343 | 533250006.5613 | 507583954.4236 | 47087030.9877 | 20187417.409 | 19134992.8048 | 18137433.9382 | 17191880.5101 | 16295621.3366 | 15446086.575 | 14640840.3554 | 13877573.7966 | 13154098.3854 | 12468339.7018 | 11818331.4709 | 11202209.925 | 10618208.4598 | 10064652.5685 | 9539955.0412 | 9042611.4135 | 8571195.6526 | 8124356.0688 | 7700811.4396 | 7299347.3361 | 6918812.6409 | 6558116.2473 | 6216223.9311 | 5892155.3849 | 5584981.4075 | 5293821.2393 | 5017840.0373 | 4756246.4808 | 4508290.5032 | 24677688.8738
Total OPEX | 38.8703 | 0% |  | 41700000 | 91304751.3854 | 329442037.4343 | 533250006.5613 | 507583954.4236 | 47087030.9877 | 20187417.409 | 19134992.8048 | 18137433.9382 | 17191880.5101 | 16295621.3366 | 15446086.575 | 14640840.3554 | 13877573.7966 | 13154098.3854 | 12468339.7018 | 11818331.4709 | 11202209.925 | 10618208.4598 | 10064652.5685 | 9539955.0412 | 9042611.4135 | 8571195.6526 | 8124356.0688 | 7700811.4396 | 7299347.3361 | 6918812.6409 | 6558116.2473 | 6216223.9311 | 5892155.3849 | 5584981.4075 | 5293821.2393 | 5017840.0373 | 4756246.4808 | 4508290.5032 | 24677688.8738
#REF!
Energy production
Gross energy production (MWh/MW/yr) | 38.8703 | 0% |  | 0 | 0 | 0 | 0 | 0 | 3154870.2689 | 2990398.3592 | 2834500.8144 | 2686730.6298 | 2546664.104 | 2413899.6247 | 2288056.5163 | 2168773.9491 | 2055709.9043 | 1948540.1937 | 1846957.5296 | 1750670.6441 | 1659403.4542 | 1572894.2693 | 1490895.042 | 1413170.656 | 1339498.2521 | 1269666.5897 | 1203475.4404 | 1140735.0146 | 1081265.4167 | 1024896.1296 | 971465.5257 | 920820.4035 | 872815.5483 | 827313.3159 | 784183.2379 | 743301.6473 | 704551.3244 | 667821.1606 | 0
Gross load factor
Wind farm availability | 38.8703 | 0% |  | 0 | 0 | 0 | 0 | 0 | 3154870.2689 | 2990398.3592 | 2834500.8144 | 2686730.6298 | 2546664.104 | 2413899.6247 | 2288056.5163 | 2168773.9491 | 2055709.9043 | 1948540.1937 | 1846957.5296 | 1750670.6441 | 1659403.4542 | 1572894.2693 | 1490895.042 | 1413170.656 | 1339498.2521 | 1269666.5897 | 1203475.4404 | 1140735.0146 | 1081265.4167 | 1024896.1296 | 971465.5257 | 920820.4035 | 872815.5483 | 827313.3159 | 784183.2379 | 743301.6473 | 704551.3244 | 667821.1606 | 0
Aerodynamic array losses | 38.8703 | 0% |  | 0 | 0 | 0 | 0 | 0 | 3154870.2689 | 2990398.3592 | 2834500.8144 | 2686730.6298 | 2546664.104 | 2413899.6247 | 2288056.5163 | 2168773.9491 | 2055709.9043 | 1948540.1937 | 1846957.5296 | 1750670.6441 | 1659403.4542 | 1572894.2693 | 1490895.042 | 1413170.656 | 1339498.2521 | 1269666.5897 | 1203475.4404 | 1140735.0146 | 1081265.4167 | 1024896.1296 | 971465.5257 | 920820.4035 | 872815.5483 | 827313.3159 | 784183.2379 | 743301.6473 | 704551.3244 | 667821.1606 | 0
Electrical array losses | 38.8703 | 0% |  | 0 | 0 | 0 | 0 | 0 | 3154870.2689 | 2990398.3592 | 2834500.8144 | 2686730.6298 | 2546664.104 | 2413899.6247 | 2288056.5163 | 2168773.9491 | 2055709.9043 | 1948540.1937 | 1846957.5296 | 1750670.6441 | 1659403.4542 | 1572894.2693 | 1490895.042 | 1413170.656 | 1339498.2521 | 1269666.5897 | 1203475.4404 | 1140735.0146 | 1081265.4167 | 1024896.1296 | 971465.5257 | 920820.4035 | 872815.5483 | 827313.3159 | 784183.2379 | 743301.6473 | 704551.3244 | 667821.1606 | 0
Blockage effsct | 38.8703 | 0% |  | 0 | 0 | 0 | 0 | 0 | 3154870.2689 | 2990398.3592 | 2834500.8144 | 2686730.6298 | 2546664.104 | 2413899.6247 | 2288056.5163 | 2168773.9491 | 2055709.9043 | 1948540.1937 | 1846957.5296 | 1750670.6441 | 1659403.4542 | 1572894.2693 | 1490895.042 | 1413170.656 | 1339498.2521 | 1269666.5897 | 1203475.4404 | 1140735.0146 | 1081265.4167 | 1024896.1296 | 971465.5257 | 920820.4035 | 872815.5483 | 827313.3159 | 784183.2379 | 743301.6473 | 704551.3244 | 667821.1606 | 0
Other losses | 38.8703 | 0% |  | 0 | 0 | 0 | 0 | 0 | 3154870.2689 | 2990398.3592 | 2834500.8144 | 2686730.6298 | 2546664.104 | 2413899.6247 | 2288056.5163 | 2168773.9491 | 2055709.9043 | 1948540.1937 | 1846957.5296 | 1750670.6441 | 1659403.4542 | 1572894.2693 | 1490895.042 | 1413170.656 | 1339498.2521 | 1269666.5897 | 1203475.4404 | 1140735.0146 | 1081265.4167 | 1024896.1296 | 971465.5257 | 920820.4035 | 872815.5483 | 827313.3159 | 784183.2379 | 743301.6473 | 704551.3244 | 667821.1606 | 0
Net energy production (MWh/MW/yr) | 38.8703 | 0% | [6 empty] | 3154870.2689 | 2990398.3592 | 2834500.8144 | 2686730.6298 | 2546664.104 | 2413899.6247 | 2288056.5163 | 2168773.9491 | 2055709.9043 | 1948540.1937 | 1846957.5296 | 1750670.6441 | 1659403.4542 | 1572894.2693 | 1490895.042 | 1413170.656 | 1339498.2521 | 1269666.5897 | 1203475.4404 | 1140735.0146 | 1081265.4167 | 1024896.1296 | 971465.5257 | 920820.4035 | 872815.5483 | 827313.3159 | 784183.2379 | 743301.6473 | 704551.3244 | 667821.1606 | 0
Decommissioning (£000s/MW) | 38.8703 | 0% |  | 41700000 | 91304751.3854 | 329442037.4343 | 533250006.5613 | 507583954.4236 | 47087030.9877 | 20187417.409 | 19134992.8048 | 18137433.9382 | 17191880.5101 | 16295621.3366 | 15446086.575 | 14640840.3554 | 13877573.7966 | 13154098.3854 | 12468339.7018 | 11818331.4709 | 11202209.925 | 10618208.4598 | 10064652.5685 | 9539955.0412 | 9042611.4135 | 8571195.6526 | 8124356.0688 | 7700811.4396 | 7299347.3361 | 6918812.6409 | 6558116.2473 | 6216223.9311 | 5892155.3849 | 5584981.4075 | 5293821.2393 | 5017840.0373 | 4756246.4808 | 4508290.5032 | 24677688.8738
|  |  | CAPEX, OPEX, DECEX | 41700000 | 91304751.3854 | 329442037.4343 | 533250006.5613 | 507583954.4236 | 47087030.9877 | 20187417.409 | 19134992.8048 | 18137433.9382 | 17191880.5101 | 16295621.3366 | 15446086.575 | 14640840.3554 | 13877573.7966 | 13154098.3854 | 12468339.7018 | 11818331.4709 | 11202209.925 | 10618208.4598 | 10064652.5685 | 9539955.0412 | 9042611.4135 | 8571195.6526 | 8124356.0688 | 7700811.4396 | 7299347.3361 | 6918812.6409 | 6558116.2473 | 6216223.9311 | 5892155.3849 | 5584981.4075 | 5293821.2393 | 5017840.0373 | 4756246.4808 | 4508290.5032 | 24677688.8738
Operational life (years) | 38.8703 | 0% | AEP | 0 | 0 | 0 | 0 | 0 | 3154870.2689 | 2990398.3592 | 2834500.8144 | 2686730.6298 | 2546664.104 | 2413899.6247 | 2288056.5163 | 2168773.9491 | 2055709.9043 | 1948540.1937 | 1846957.5296 | 1750670.6441 | 1659403.4542 | 1572894.2693 | 1490895.042 | 1413170.656 | 1339498.2521 | 1269666.5897 | 1203475.4404 | 1140735.0146 | 1081265.4167 | 1024896.1296 | 971465.5257 | 920820.4035 | 872815.5483 | 827313.3159 | 784183.2379 | 743301.6473 | 704551.3244 | 667821.1606 | 0
WACC (weighted average cost of capital, pre-tax, real) | 38.8703 | 0% | CAPEX, OPEX, DECEX | 41700000 | 91304751.3854 | 329442037.4343 | 533250006.5613 | 507583954.4236 | 47087030.9877 | 20187417.409 | 19134992.8048 | 18137433.9382 | 17191880.5101 | 16295621.3366 | 15446086.575 | 14640840.3554 | 13877573.7966 | 13154098.3854 | 12468339.7018 | 11818331.4709 | 11202209.925 | 10618208.4598 | 10064652.5685 | 9539955.0412 | 9042611.4135 | 8571195.6526 | 8124356.0688 | 7700811.4396 | 7299347.3361 | 6918812.6409 | 6558116.2473 | 6216223.9311 | 5892155.3849 | 5584981.4075 | 5293821.2393 | 5017840.0373 | 4756246.4808 | 4508290.5032 | 24677688.8738
|  |  | AEP | 0 | 0 | 0 | 0 | 0 | 3154870.2689 | 2990398.3592 | 2834500.8144 | 2686730.6298 | 2546664.104 | 2413899.6247 | 2288056.5163 | 2168773.9491 | 2055709.9043 | 1948540.1937 | 1846957.5296 | 1750670.6441 | 1659403.4542 | 1572894.2693 | 1490895.042 | 1413170.656 | 1339498.2521 | 1269666.5897 | 1203475.4404 | 1140735.0146 | 1081265.4167 | 1024896.1296 | 971465.5257 | 920820.4035 | 872815.5483 | 827313.3159 | 784183.2379 | 743301.6473 | 704551.3244 | 667821.1606 | 0

## Data
Base Data - 18MW - FID 2025
| 18-25-A | 18-25-B | 18-25-C | 18-25-D | 18-25-F
CAPEX: (£000s/MW) | A | B | C | D | F
Project development and consenting to FID | 41.7 | 42.2 | 43.2 | 46.1 | 58.9
Project development from FID to WCD | 41.7 | 42.2 | 43.3 | 44.9 | 59
Construction phase insurance | 37.8 | 38.6 | 40.4 | 41.7 | 50.6
Turbine (excluding tower) | 811.4 | 811.4 | 811.4 | 811.4 | 830.9
Tower | 70.8 | 70.8 | 70.8 | 70.8 | 135.9
Support structure | 178.2 | 198.1 | 222.5 | 198 | 627
Array cables | 22.7 | 22.8 | 22.8 | 22.8 | 26.9
Installation | 131.1 | 137.4 | 183.3 | 142 | 85.5
Transmission supply and installation | 332.3 | 337.5 | 342.7 | 460.8 | 388.1
Construction contingency | 1667.7 | 1701 | 1780.4 | 1838.5 | 2262.8
OPEX: (£000s/MW/yr)
Operation, maintenance and service (OMS) | 11.3 | 11.5 | 11.7 | 12.6 | 14
Operating phase insurance | 3.5 | 3.5 | 3.5 | 3.7 | 3.9
Transmission charges | 12.3 | 12.3 | 12.3 | 14 | 12.6
OPEX Total | 27.1 | 27.3 | 27.5 | 30.3 | 30.5
Gross Energy Production (MWh/MW/yr) | 4681 | 4906 | 5061 | 5210 | 5000
Wind farm availability | 95.6% | 95.6% | 95.6% | 95.6% | 95.6%
Aerodynamic array losses | 6.7% | 6.1% | 5.6% | 5.2% | 5.6%
Electrical array losses | 1% | 1% | 1% | 1% | 1%
Blockage effect | 1% | 1% | 1% | 1% | 1%
Other losses | 1.9% | 1.9% | 1.9% | 1.9% | 1.9%
Net energy production (MWh/MW/yr) | 4014.3716 | 4234.3858 | 4391.4265 | 4539.8693 | 4338.4969
Decommissioning: (£000s/MW/yr)
Total Decommissioning | 156.5 | 161.7 | 192.7 | 191.1 | 89.9
Water depth (m) | 25 | 35 | 45 | 35 | 100
Distance to O&M port (km) | 40 | 40 | 40 | 125 | 40
Average mean wind speed at 100m above mean sea level (m/s) | 9 | 9.4 | 9.7 | 10 | 9.75
Foundation type | Monopile | Monopile | Jacket | Monopile | Semi-sub
Lifetime (years) | 30 | 30 | 30 | 30 | 30
Farm rating (MW) | 1000 | 1000 | 1000 | 1000 | 1000
WACC (Weighted Average Cost of Capital, pre-tax, real) | 5.5% | 5.5% | 5.5% | 5.5% | 6.5%
LCOE (£/MWh) (taken from calculator tab) | 38.8703 | 37.5049 | 37.6454 | 38.1323 | 51.7196
Relative to site A | 100% | 96.49% | 96.85% | 98.1% | 133.1%